# Hot tub risk assessment: holiday let (checklist template)

Free template by Pulad Labs (puladlabs.com/guides/). A starting point, not legal advice: adapt it to your hot tub, your property and your council's guidance. Based on the headings in HSE's HSG282 'The control of legionella and other infectious agents in spa-pool systems'.

# 1. Property and responsibility

| Item | Your answer / control in place | Action needed (who, by when) |
| --- | --- | --- |
| Property address and hot tub location |  |  |
| Hot tub make, model, volume (litres) |  |  |
| Type: hard-shell (inflatable tubs are not suitable for commercial use in many councils' view) |  |  |
| Responsible person (name, phone) and deputy |  |  |
| Who carries out daily checks (owner, cleaner, service company) |  |  |
| Training of those people (date, course) |  |  |

# 2. Hazards

| Item | Your answer / control in place | Action needed (who, by when) |
| --- | --- | --- |
| Legionella and other bacteria (warm water, aerosols from jets) |  |  |
| Pseudomonas (skin and ear infections) |  |  |
| Chemical handling and storage (chlorine/bromine, pH products) |  |  |
| Electrical safety (RCD protection, last electrical check) |  |  |
| Slips, trips and drowning risk (children, alcohol-free use, lid locked when not in use) |  |  |
| Water temperature (40 C maximum) |  |  |

# 3. Water treatment and monitoring

| Item | Your answer / control in place | Action needed (who, by when) |
| --- | --- | --- |
| Disinfectant: chlorine (target 3-5 mg/l) or bromine (4-6 mg/l) |  |  |
| pH target 7.0-7.6 |  |  |
| Test method (comparator / photometer / strips) |  |  |
| Test frequency: at least twice a day when in use (HSG282, domestic-type hot tubs) |  |  |
| Water clarity check daily |  |  |
| Where results are recorded (log) and kept for 5 years |  |  |

# 4. Cleaning and maintenance

| Item | Your answer / control in place | Action needed (who, by when) |
| --- | --- | --- |
| Daily: water line, filter/strainers, surrounds |  |  |
| Each changeover (or weekly): drain, clean and refill; headrests; cover and lid |  |  |
| Monthly: remove and inspect jets for biofilm; clean and disinfect pipework |  |  |
| Filter cleaning and replacement schedule |  |  |
| Annual service by a competent engineer (date) |  |  |

# 5. Microbiological sampling

| Item | Your answer / control in place | Action needed (who, by when) |
| --- | --- | --- |
| Laboratory used (UKAS accredited) |  |  |
| Sampling frequency (councils commonly ask monthly, Legionella at least quarterly) |  |  |
| Action if results are out of limits (close the tub, shock, drain, retest) |  |  |

# 6. Guest information and emergencies

| Item | Your answer / control in place | Action needed (who, by when) |
| --- | --- | --- |
| Guest rules displayed (shower first, time limit, no under-5s/pregnant without advice, no glass) |  |  |
| What guests do if water looks cloudy or smells |  |  |
| Emergency contact and procedure if a guest becomes ill |  |  |

# Review

Date of assessment: ____________   Assessed by: ____________   Signature: ____________

Review date (at least yearly, or after any change or incident): ____________

Keep this assessment while it is current and for at least two years after; keep test and check records for at least five years (HSG282).